Items that must accompany a taking in charge request.

Our Building Control Section requires the following to accompany the written request for taking in charge in order to determine if services are completed to standard:

- As-constructed drawings for the completed scheme (not planning drawings) per the template drawing and guidance for as constructed drawings available on the Councils website. Areas to be taken in charge (yellow) and areas subject to management company control should be clearly distinguishable.

- CCTV for all foul and storm sewers pipes on the scheme

- Manhole report for each manhole on the scheme & contact details for site representative for manhole inspections etc.

- Pollution and cross connection control report for the scheme (to be approved by SDCC Environmental Services Section)

- Report from your independent Landscape Architect or similar indicating compliance with all open space planning conditions (to be approved by SDCC parks department)

- Certification for the public lighting.

- Results of Road Core tests taken at 60 – 70 m centres at opposite sides of road

- Certification that all boundary walls are built to IS 325

- Where applicable copies of all wayleaves fully executed

- In Cul De Sacs without footpaths, a wayleave in favour of the Council over the 2 metre service strip.

- Test results duly certified showing output in litres per minute from all fire hydrants in the development

- Safety File for the complete estate/development, certified by the Project Supervisor Design Process, who holds professional indemnity insurance

Further specific technical requirements are outlined in the Councils Taking in Charge Policy.