DRAFT

# SDCC Rathcoole Housing Development Environmental Impact Assessment Report (EIAR) Volume 02 - Appendices Appendix 1-2 Statutory Consultation Responses South Dublin County Council (SDCC) June 2026

Quality information

| Prepared by |  | Checked by |  | Verified by |  | Approved by |
| --- | --- | --- | --- | --- | --- | --- |
| FI Environmental Consultant – Impact Assessment |  | DM Senior Environmental Consultant |  | JH Technical Director – Impact Assessment |  | RO'C Project Director |

Revision History

| Revision | Revision date | Details | Authorized | Name | Position |
| --- | --- | --- | --- | --- | --- |
| 0 | 28/08/2026 | Draft | Y | RO'C | Project Director |

Distribution List

| # Hard Copies | PDF Required | Association / Company Name |
| --- | --- | --- |
| 0 | 1 | South Dublin County Council |

Prepared for:

South Dublin County Council (SDCC)

Prepared by:

‌AECOM Ireland Limited

4th Floor

One Burlington Plaza

Burlington Road

Dublin 4

D04 RH96

T +353-1-696-6220

© 2026 AECOM Ireland Limited. All Rights Reserved.

This document has been prepared by AECOM Ireland Limited (“AECOM”) for sole use of our client (the “Client”) in accordance with generally accepted consultancy principles, the budget for fees and the terms of reference agreed between AECOM and the Client. Any information provided by third parties and referred to herein has not been checked or verified by AECOM, unless otherwise expressly stated in the document. No third party may rely upon this document without the prior and express written agreement of AECOM.

- Appendix 1-2 Statutory Consultation Responses

Table 1: Consultation Responses – Summary Tracker

| Consultee and Contact Details | Date Consulted | Response Date | Nature of Response | Applicant Response (and how the Consultee’s comments have been addressed in the EIAR) |
| --- | --- | --- | --- | --- |
| Irish Aviation Authority info@iaa.ie ansdinfo@iaa.ie | 26/03/2026 | N/A | N/A | N/A |
| An Taisce - The National Trust for Ireland advocacyqueries@antaisce.org info@antaisce.org | 26/03/2026 | N/A | N/A | N/A |
| Environmental Protection Agency (EPA) info@epa.ie | 26/03/2026 | N/A | N/A | N/A |
| Geological Survey of Ireland (GSI) GSIPlanning@gsi.ie | 26/03/2026 | 06/05/2025 | The consultee encouraged the use of and reference to their datasets where relevant, for which they provided a list. They also noted that they would appreciate being provided a copy of reports detailing any site investigation carried out, should development go ahead, to add this into GSI’s national database of site investigation boreholes. | GSI datasets were used in preparation of the EIAR where relevant. |
| Health and Safety Authority (HSA) contactus@hsa.ie consultation@hsa.ie LandUsePlanning@hsa.ie | 26/03/2026 | N/A | N/A | N/A |
| Health Service Executive (HSE) consumeraffairs.hsedne@hse.ie | 26/03/2026 | 30/03/2026 | The consultee acknowledged receipt of the consultation letter and forwarded it to the relevant department. No further comment was received. | N/A |
| Uisce Éireann (formerly Irish Water) planning@water.ie | 26/03/2026 | 15/06/2026 | The consultee denoted aspects of water and wastewater services that should be addressed in the scope of the EIAR and in the planning proposals, including Tay Lane Pumping Station, which is currently operating at capacity and will require upgrade projects to support future development growth in the Rathcoole area. UE requested that the location of all existing UE infrastructure within the site and the adjoining wider site area is clearly identified in all associated engineering and site layout drawings. UE also requires that the engineering and site layout drawings demonstrate the required separation distances to public water services infrastructure can be achieved, in accordance with UE Standards, Codes and Practices. | The water chapter considered the water and wastewater aspects highlighted. |
| Minister for Environment, Climate and Communications planningadvisory@decc.gov.ie customer.service@decc.gov.ie | 26/03/2026 | N/A | N/A | N/A |
| Minister for Culture, Heritage and the Gaeltacht ministers.office@tcagsm.gov.ie diary@tcagsm.gov.ie | 26/03/2026 | N/A | N/A | N/A |
| Minister for Housing, Planning and Local Government minister@housing.gov.ie ministerofstate@housing.gov.ie qcsofficer@housing.gov.ie | 26/03/2026 | N/A | N/A | N/A |
| Office of Public Works (OPW) info@opw.ie | 26/03/2026 | N/A | N/A | N/A |
| The Heritage Council mail@heritagecouncil.ie | 26/03/2026 | N/A | N/A | N/A |
| Transport Infrastructure Ireland (TII) landuseplanning@tii.ie aie@tii.ie | 26/03/2026 | 11/05/2026 | The consultee recommended that a Traffic and Transport Assessment (TTA) is carried out in accordance with relevant guidelines, including TII’s Traffic and Transport Assessment Guidelines (TII Publication No. PE-PDV-02045), subject to meeting the appropriate thresholds and criteria. The TTA would note traffic volumes and traffic routes to/from the Site, with reference to the impacts on the national road network and junctions of lower category roads with national roads. The designers and assessors are asked to consult TII Publications to determine whether a Road Safety Audit is required. TII advises that consultations should be had with the relevant Local Authority/National Roads Design Office (RDO) with regard to locations of existing and future national road schemes. | The Material Assets (Traffic) chapter includes a traffic and transport assessment, and has considered the relevant guidelines. |
| Department of Transport info@transport.gov.ie | 26/03/2026 | 13/05/2026 | The Department of Transport notes that the inclusion of Active Travel infrastructure is welcome in the Proposed Development’s design. In addition to this, the provision of safe, secure bicycle parking is critical, and therefore it is important that the proposed design includes secure bike parking spaces for future residents. | Secure bicycle parking has been included in the design. |
| Bord Gais Energy helpme@bordgais.ie | 26/03/2026 | N/A | N/A | N/A |
| ESB networks esbnetworks@esb.ie | 26/03/2026 | N/A | N/A | N/A |
| Eir Grid Plc info@eirgrid.com | 26/03/2026 | N/A | N/A | N/A |
| Failte Ireland – The National Tourism Development Authority communications@failteireland.ie planning.applications@failteireland.ie | 26/03/2026 | 07/04/2026 | The consultee acknowledged receipt of the consultation letter, but no comment was provided. | N/A |
| An Comhairle Ealaion – The Arts Council of Ireland reception@artscouncil.ie | 27/03/2026 | N/A | N/A | N/A |
| Department of Agriculture, Food and Marine info@agriculture.gov.ie Environmental_Co-ordination@agriculture.gov.ie | 26/03/2026 | N/A | N/A | N/A |
| National Transport Authority aie@nationaltransport.ie | 26/03/2026 | N/A | N/A | N/A |
| Sustainable Energy Authority of Ireland (SEAI) info@seai.ie | 26/03/2026 | N/A | N/A | N/A |
| Badger Watch Ireland bernadettembarrett@gmail.com | 26/03/2026 | N/A | N/A | N/A |
| BirdWatch Ireland info@birdwatchireland.ie | 26/03/2026 | N/A | N/A | N/A |
| Bat Conservation Ireland info@batconservationireland.org | 26/03/2026 | N/A | N/A | N/A |
| Butterfly Conservation Ireland conservation.butterfly@gmail.com | 26/03/2026 | 14/04/2026 | The consultee’s response focused on the importance of the species and habitats onsite and in the wider surrounding area, three of which are listed on Annex I of the E. U. Habitats Directive. BCI suggest that SDCC designate a nature reserve under Section 15 of the Wildlife Act 1976, which they recommend as a suitable action in alignment with SDCC’s Biodiversity Action Plan 2026-2031. | The design has been adapted to reduce encroachment on Annex I habitats, and includes a detailed Landscape Mitigation Plan. |
| Irish Wildlife Trust info@iwt.ie | 26/03/2026 | N/A | N/A | N/A |
| Inland Fisheries Ireland info@fisheriesireland.ie | 26/03/2026 | 03/04/2026 | Inland Fisheries Ireland (IFI) recommends that a full-time, suitably experienced, and qualified ecological clerk of works is appointed prior to the commencement of construction, to ensure the implementation and compliance with all agreed measures to protect the environment. IFI indicates that the presence of water bodies within the site boundary poses a significant risk to the receiving aquatic environment, with the importance of appropriate construction environmental management procedures and practical mitigation measures being implemented. | The Water chapter and the Outline Construction Environmental Management Plan have considered the issues identified. |
| Department of Housing, Local Government and Heritage Development Applications Unit/National Parks and Wildlife Service (NPWS) manager.dau@npws.gov.ie manager.dau@housing.gov.ie | 26/03/2026 | 20/05/2026 | The Department advises that an Archaeological Impact Assessment is scoped into the proposed EIA process, and should be carried out by a suitably qualified Consultant Archaeologist. They recommend that the methodology should incorporate desk-based research, site inspections, and consultation with the public and relevant stakeholders. | During preparation of the Archaeology and Cultural Heritage chapter, recommendations from the consultee were considered, and implemented where practical. |
| Eastern & Midlands Regional Assembly info@emra.ie | 26/03/2026 | N/A | N/A | N/A |
| AirNav Ireland info@airnav.ie | 26/03/2026 | N/A | N/A | N/A |
| Dublin Bus communications@dublinbus.ie | 26/03/2026 | N/A | N/A | N/A |
| Iarnród Eireann oireachtasliaison@irishrail.ie | 26/03/2026 | N/A | N/A | N/A |
| National Monuments / Architecture nationalmonuments@housing.gov.ie | 26/03/2026 | N/A | N/A | N/A |
| Gas Networks Ireland networksinfo@gasnetworks.ie dig@gasnetworks.ie | 26/03/2026 | N/A | N/A | N/A |
| Met Éireann enquiries@met.ie | 26/03/2026 | N/A | N/A | N/A |
| Commission for Regulation of Utilities (CRU) info@cru.ie | 26/03/2026 | N/A | N/A | N/A |
| Department of Defence info@defence.ie | 01/04/2026 | N/A | N/A | N/A |